## Slide 1: Drought– Bottom-up Vulnerability Analysis
February 28th, 2020
Weber Basin Water Conservancy District

## Slide 2
Bottom-Up Vulnerability Analysis
1. Identify factors
2. Develop scenarios
3. Run Riverware / Riversmart
4. Define vulnerability criteria (Fraction of years …)
5. Visualize vulnerabilities
6. Discuss
Contour plots
Time series
Total storage ≤ Yellow, Orange, Red targets
Shortages > 0
108 Runs
(Scenario combinations)
Flow @ Oakley
Paleo
Observed
Future Climate
Six 30-yr blocks (800 - 970 kaf/yr)
Demand
Per capita use (6)
Population (3)
Decreased Ag. (3)
Potential ET (7)
6 scenarios
(380 - 850 kaf/yr)
Sediment Buildup
None
1 or 2 events
Gradual
3 scenarios
(0%, 10%, 30%)
Evaporation Rate @ Willard Bay
Riverware
Historical
Late estimate
3 scenarios
(3.2, 3.7, 4.0 ft/yr)

## Slide 3
Observed (1900 to 2010)
Selected Scenarios
1570-1600
1520-1550
1930-1960
1940-1970
Hot Dry
1610-1640
Weber River Flow at Oakley
(acre-feet per year)

## Slide 4
(1570-1600)
192k
Average Annual Inflow (Acre-Ft)
Trace Scenarios

## Slide 5
Selected Inflows – Weber at Oakley

## Slide 6
Selected Inflows – Total District

## Slide 7
Weber at Oakley Inflows
District Total Inflows

## Slide 8
Notes: https://rpubs.com/Jeveritt/578647

## Slide 10: Results

## Slide 17: Key Vulnerabilities
Sedimentation
High Demand (what level?)
  Level
Low Inflows (what level?)
  Level
Combinations
  Levels
  Levels

## Slide 18: Questions

## Slide 19: Questions