## Slide 1
Bottom-Up Vulnerability Analysis
1. Identify factors
2. Develop scenarios
3. Run Riverware / Riversmart
4. Define satisfactory criteria (Fraction of years…)
5. Visualize vulnerabilities
Contour plots
Time series
Total storage ≤ Yellow, Orange, Red targets
Shortages > 0
108 Runs
(Scenario combinations)
Flow @ Oakley
Paleo
Observed
Future Climate
Six 30-yr blocks (800 - 970 kaf/yr)
Demand
Per capita use
Population,
Ag. Conversion
Potential ET
6 values
(355 - 560 kaf/yr)
Sediment Buildup
None
1 or 2 events
Gradual
3 values
(0%, 10%, 30%)
Evaporation Rate @ Willard Bay
Riverware
Historical
Late estimate
3 values
(3.2, 3.7, 4.0 ft/yr)